## monthdata
|  | Hourly SiteSage Data | 2014-10-21 16:14:00 | Customer: | Giulia Marinello
Column name is Energy Monitor Channel Number-Circuit Name
Channel Columns contain energy usage(production) in watt hours for hour
Voltage is average voltage for hour
Date/Time | CH2-Main Power | CH4-Flash Water Heater | CH5-Geothermal Heat Pump | CH6-Kitchen Outlet Right | CH7-Kitchen Outlet Left | CH8-Both Bathroom Outlets | CH9-1st Floor Lights | CH10-Kitchen Lights | CH11-Dishwasher | CH12-Washing Machine | CH13-ERV | CH14-Forced Air Fan | CH15-Water Heater | CH16-East Basement Lights | CH17-West Basement Lights | CH18-Utility Sink Outlets | CH19-Buffer Tank | CH20-Clothes Dryer | CH22-Bedroom Space Conditioners | CH23-Refrigerator{1} | CH24-2nd Floor Lights | CH25-East Basement Outlets | CH26-South & North Bedroom Outlets | CH27-Living Room Outlets & Closet Light | CH28-Hallway & Dining & Kitchen Outlets | CH29-West Basement Outlets | 14881/Voltage | Outdoor Temp
2014-10-18 | 342 | 5 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 68 | 36 | 0 | 91 | 19 | 7 | 171 | 25 | 123.1 | 55
2014-10-18 01:00 | 324 | 5 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 67 | 34 | 0 | 91 | 2 | 6 | 172 | 24 | 122.3 | 55
2014-10-18 02:00 | 294 | 5 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 68 | 4 | 0 | 91 | 0 | 6 | 172 | 25 | 122.6 | 54
2014-10-18 03:00 | 325 | 5 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 51 | 68 | 35 | 0 | 91 | 0 | 6 | 173 | 25 | 123 | 52
2014-10-18 04:00 | 326 | 5 | 0 | 0 | 0 | 0 | 0 | 7 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 68 | 38 | 0 | 91 | 0 | 6 | 172 | 25 | 123 | 51
2014-10-18 05:00 | 1397 | 5 | 952 | 0 | 0 | 0 | 0 | 7 | 0 | 3 | 3 | 84 | 0 | 0 | 0 | 0 | 31 | 49 | 67 | 29 | 0 | 90 | 0 | 6 | 172 | 24 | 122.2 | 49
2014-10-18 06:00 | 1848 | 485 | 642 | 0 | 0 | 0 | 0 | 7 | 0 | 3 | 5 | 67 | 306 | 0 | 0 | 0 | 25 | 49 | 67 | 6 | 16 | 90 | 0 | 6 | 169 | 24 | 121.7 | 47
2014-10-18 07:00 | 1363 | 45 | 598 | 56 | 59 | 0 | 47 | 8 | 0 | 2 | 4 | 64 | 28 | 0 | 0 | 0 | 24 | 49 | 67 | 62 | 34 | 91 | 1 | 6 | 218 | 24 | 122.1 | 47
2014-10-18 08:00 | 406 | 7 | 0 | 0 | 0 | 0 | 14 | 7 | 0 | 3 | 4 | 0 | 3 | 0 | 0 | 0 | 0 | 49 | 67 | 40 | 31 | 91 | 0 | 6 | 228 | 25 | 122.6 | 47
2014-10-18 09:00 | 154 | 5 | 0 | 0 | 0 | 0 | 10 | 7 | 0 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 67 | 37 | 30 | 91 | 0 | 6 | 226 | 24 | 122.1 | 49
2014-10-18 10:00 | 215 | 5 | 0 | 0 | 0 | 0 | 22 | 7 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 46 | 4 | 30 | 90 | 0 | 6 | 227 | 25 | 122.1 | 49
2014-10-18 11:00 | 1421 | 590 | 0 | 55 | 26 | 0 | 52 | 7 | 0 | 2 | 5 | 0 | 399 | 0 | 0 | 0 | 0 | 49 | 14 | 185 | 44 | 90 | 0 | 274 | 278 | 24 | 122 | 51
2014-10-18 12:00 | 268 | 5 | 0 | 9 | 0 | 0 | 108 | 7 | 0 | 3 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 50 | 0 | 54 | 31 | 91 | 0 | 288 | 226 | 25 | 122.6 | 52
2014-10-18 13:00 | 592 | 14 | 0 | 0 | 0 | 0 | 107 | 7 | 0 | 2 | 3 | 0 | 5 | 0 | 0 | 0 | 0 | 49 | 0 | 56 | 30 | 115 | 0 | 283 | 227 | 24 | 122.6 | 50
2014-10-18 14:00 | 296 | 4 | 0 | 0 | 0 | 0 | 106 | 7 | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 49 | 0 | 68 | 30 | 122 | 0 | 276 | 227 | 24 | 122.5 | 49
2014-10-18 15:00 | 2162 | 587 | 856 | 0 | 0 | 0 | 109 | 7 | 0 | 2 | 6 | 61 | 406 | 0 | 0 | 0 | 28 | 49 | 0 | 38 | 32 | 94 | 0 | 266 | 224 | 54 | 122.1 | 49
2014-10-18 16:00 | 2500 | 13 | 1836 | 0 | 0 | 0 | 81 | 7 | 0 | 3 | 3 | 144 | 5 | 0 | 0 | 0 | 66 | 49 | 0 | 51 | 41 | 71 | 0 | 261 | 213 | 71 | 122.2 | 49
2014-10-18 17:00 | 2171 | 45 | 1643 | 0 | 71 | 0 | 84 | 7 | 0 | 3 | 5 | 132 | 26 | 0 | 0 | 0 | 60 | 49 | 0 | 40 | 41 | 87 | 0 | 269 | 212 | 43 | 122.4 | 50
2014-10-18 18:00 | 1865 | 6 | 1075 | 0 | 0 | 0 | 106 | 7 | 0 | 2 | 3 | 94 | 1 | 0 | 0 | 0 | 41 | 49 | 0 | 26 | 41 | 120 | 0 | 276 | 211 | 24 | 122 | 49
2014-10-18 19:00 | 1219 | 6 | 643 | 0 | 0 | 0 | 61 | 7 | 0 | 2 | 3 | 55 | 1 | 0 | 0 | 0 | 25 | 48 | 0 | 21 | 36 | 81 | 0 | 89 | 227 | 24 | 121.7 | 49
2014-10-18 20:00 | 1368 | 5 | 866 | 0 | 0 | 0 | 40 | 7 | 0 | 2 | 3 | 71 | 0 | 0 | 0 | 0 | 34 | 49 | 0 | 28 | 30 | 71 | 0 | 19 | 229 | 24 | 122 | 48
2014-10-18 21:00 | 1705 | 4 | 1164 | 0 | 0 | 0 | 40 | 7 | 0 | 3 | 3 | 94 | 0 | 0 | 0 | 0 | 44 | 49 | 0 | 37 | 30 | 71 | 0 | 19 | 227 | 24 | 121.9 | 48
2014-10-18 22:00 | 1299 | 4 | 770 | 0 | 0 | 0 | 47 | 7 | 0 | 2 | 3 | 64 | 0 | 0 | 0 | 0 | 30 | 49 | 0 | 36 | 30 | 74 | 0 | 39 | 228 | 25 | 122.2 | 48
2014-10-18 23:00 | 1050 | 18 | 308 | 0 | 0 | 0 | 82 | 7 | 0 | 1 | 3 | 26 | 9 | 0 | 0 | 0 | 12 | 49 | 0 | 14 | 30 | 76 | 0 | 272 | 234 | 24 | 122.3 | 46
2014-10-19 | 1292 | 51 | 921 | 0 | 0 | 0 | 4 | 7 | 0 | 3 | 4 | 68 | 26 | 0 | 0 | 0 | 37 | 49 | 57 | 22 | 20 | 73 | 9 | 19 | 18 | 24 | 122 | 47
2014-10-19 01:00 | 1731 | 42 | 1317 | 0 | 0 | 0 | 1 | 7 | 0 | 2 | 4 | 96 | 39 | 0 | 0 | 0 | 71 | 49 | 69 | 35 | 10 | 71 | 11 | 6 | 0 | 24 | 122.2 | 47
2014-10-19 02:00 | 2119 | 426 | 1011 | 0 | 0 | 0 | 53 | 7 | 0 | 2 | 5 | 94 | 284 | 0 | 0 | 0 | 60 | 49 | 68 | 38 | 10 | 71 | 23 | 6 | 0 | 24 | 121.7 | 47
2014-10-19 03:00 | 1894 | 98 | 1377 | 0 | 0 | 0 | 15 | 7 | 0 | 2 | 4 | 108 | 80 | 0 | 0 | 0 | 60 | 47 | 66 | 15 | 9 | 70 | 15 | 5 | 0 | 24 | 120.3 | 47
2014-10-19 04:00 | 1142 | 5 | 883 | 0 | 0 | 0 | 0 | 7 | 0 | 2 | 3 | 76 | 0 | 0 | 0 | 0 | 34 | 47 | 66 | 20 | 10 | 71 | 3 | 6 | 0 | 24 | 120.6 | 45
2014-10-19 05:00 | 1518 | 4 | 1192 | 0 | 0 | 0 | 0 | 7 | 0 | 2 | 3 | 106 | 0 | 0 | 0 | 0 | 52 | 47 | 66 | 37 | 9 | 71 | 0 | 6 | 0 | 24 | 120.3 | 42
2014-10-19 06:00 | 1677 | 4 | 1354 | 0 | 0 | 0 | 0 | 7 | 0 | 2 | 3 | 102 | 0 | 0 | 0 | 0 | 52 | 47 | 66 | 36 | 9 | 71 | 0 | 6 | 0 | 24 | 120.4 | 40
2014-10-19 07:00 | 1265 | 5 | 996 | 0 | 0 | 0 | 0 | 7 | 0 | 3 | 3 | 80 | 0 | 0 | 0 | 0 | 37 | 46 | 65 | 21 | 9 | 70 | 0 | 6 | 0 | 24 | 120 | 39
2014-10-19 08:00 | 2208 | 574 | 1045 | 0 | 0 | 0 | 0 | 7 | 0 | 2 | 5 | 70 | 365 | 0 | 0 | 0 | 37 | 47 | 65 | 14 | 13 | 70 | 0 | 6 | 0 | 24 | 120.1 | 39
2014-10-19 09:00 | 1155 | 226 | 445 | 0 | 35 | 0 | 29 | 6 | 0 | 92 | 7 | 36 | 121 | 0 | 0 | 0 | 16 | 47 | 65 | 59 | 33 | 70 | 5 | 5 | 0 | 24 | 120.2 | 42
2014-10-19 10:00 | 544 | 46 | 167 | 0 | 54 | 0 | 70 | 6 | 0 | 71 | 4 | 0 | 29 | 0 | 0 | 0 | 5 | 47 | 48 | 133 | 25 | 71 | 6 | 6 | 0 | 24 | 120.8 | 48
2014-10-19 11:00 | 1231 | 11 | 0 | 0 | 0 | 0 | 106 | 7 | 0 | 3 | 3 | 0 | 4 | 0 | 0 | 0 | 0 | 49 | 39 | 95 | 9 | 71 | 6 | 6 | 0 | 24 | 122.2 | 50
2014-10-19 12:00 | 1671 | 28 | 0 | 0 | 0 | 0 | 97 | 7 | 0 | 3 | 3 | 0 | 16 | 0 | 0 | 0 | 0 | 49 | 40 | 43 | 9 | 108 | 6 | 6 | 258 | 25 | 122.5 | 53
2014-10-19 13:00 | 2655 | 47 | 0 | 0 | 0 | 0 | 105 | 7 | 0 | 3 | 3 | 0 | 26 | 0 | 0 | 0 | 0 | 49 | 40 | 34 | 10 | 114 | 5 | 6 | 255 | 24 | 122.7 | 53
2014-10-19 14:00 | 3539 | 1392 | 0 | 0 | 0 | 0 | 115 | 7 | 231 | 2 | 14 | 0 | 1089 | 0 | 0 | 0 | 0 | 1328 | 39 | 74 | 12 | 87 | 5 | 6 | 252 | 26 | 122.1 | 55
2014-10-19 15:00 | 2341 | 203 | 0 | 0 | 0 | 0 | 105 | 7 | 300 | 1 | 4 | 0 | 143 | 0 | 0 | 0 | 0 | 2546 | 40 | 27 | 9 | 138 | 0 | 6 | 245 | 91 | 122.6 | 56
2014-10-19 16:00 | 693 | 25 | 0 | 0 | 35 | 0 | 104 | 7 | 278 | 1 | 4 | 0 | 12 | 0 | 0 | 0 | 0 | 2 | 39 | 43 | 9 | 133 | 0 | 5 | 242 | 87 | 122 | 57
2014-10-19 17:00 | 901 | 23 | 482 | 0 | 0 | 0 | 93 | 7 | 0 | 2 | 4 | 46 | 14 | 0 | 0 | 0 | 16 | 2 | 39 | 44 | 17 | 136 | 0 | 6 | 239 | 56 | 121.1 | 58
2014-10-19 18:00 | 1822 | 33 | 1173 | 0 | 0 | 0 | 30 | 15 | 0 | 2 | 3 | 110 | 16 | 16 | 20 | 0 | 41 | 2 | 39 | 42 | 9 | 135 | 0 | 6 | 236 | 47 | 120.7 | 56
2014-10-19 19:00 | 2328 | 38 | 1110 | 0 | 0 | 0 | 73 | 26 | 0 | 1 | 3 | 160 | 22 | 37 | 46 | 0 | 76 | 2 | 48 | 58 | 20 | 100 | 1 | 5 | 231 | 47 | 120.1 | 54
2014-10-19 20:00 | 2336 | 31 | 1272 | 0 | 0 | 0 | 93 | 25 | 0 | 0 | 3 | 134 | 18 | 37 | 46 | 0 | 84 | 2 | 67 | 21 | 40 | 130 | 5 | 63 | 232 | 39 | 120.2 | 52
2014-10-19 21:00 | 2790 | 4 | 1624 | 0 | 0 | 0 | 71 | 25 | 0 | 1 | 3 | 160 | 0 | 38 | 46 | 0 | 90 | 2 | 67 | 22 | 49 | 120 | 0 | 224 | 229 | 24 | 120.4 | 51
2014-10-19 22:00 | 1734 | 7 | 723 | 0 | 0 | 0 | 95 | 26 | 0 | 0 | 3 | 26 | 1 | 37 | 45 | 0 | 25 | 3 | 67 | 46 | 50 | 120 | 0 | 223 | 229 | 24 | 121.2 | 50

## Sheet1
Oct 18th Outdoor Temp | 49.7083 | F
Geothermal HP | 11.353 | kWh
ERV | 0.083 | kWh
Buffer Tank | 0.42 | kWh
Bedroom H/X | 0.734 | kWh
Total | 12.59 | kWh
| Kitchen | Office | Living Room | Bath 2nd Flr | North Bedroom | Roof | Attic | Basement | Wall Foam | Interior Wall | Window Ext | Window Int | Kitchen Drain | Washing Machine | Bath 2nd Floor | Bath 1st Floor | 250 ft | 200 ft | 150 ft | 100 ft | 50 ft | Supply | R1 | R2 | R3 | Exterior Wall
Average Temp [C] | 21.1555 | 21.2763 | 20.7513 | 20.1932 | 20.7346 | 12.8647 | 13.9565 | 21.921 | 14.7243 | 21.2822 | 10.3858 | 20.801 | 20.4611 | 19.9734 | 20.7573 | 23.103 | 12.842 | 12.9242 | 12.6211 | 13.011 | 13.3111 | 13.7874 | 12.7466 | 12.6554 | 12.6091 | 11.2221
Average Temp (F) | 70.0799 | 70.2973 | 69.3523 | 68.3477 | 69.3222 | 55.1565 | 57.1216 | 71.4577 | 58.5037 | 70.308 | 50.6945 | 69.4419 | 68.8301 | 67.9521 | 69.3632 | 73.5854 | 55.1155 | 55.2636 | 54.718 | 55.4198 | 55.96 | 56.8172 | 54.9438 | 54.7798 | 54.6963 | 52.1998
| Kitchen | Office | Living Room | Bath 2nd Flr | North Bedroom | Roof | Attic | Basement | Wall Foam | Interior Wall | Window Ext | Window Int | Kitchen Drain | Washing Machine | Bath 2nd Floor | Bath 1st Floor | 250 ft | 200 ft | 150 ft | 100 ft | 50 ft | Supply | R1 | R2 | R3 | Exterior Wall
Average Temp [C] | 21.1555 | 21.2763 | 20.7513 | 20.1932 | 20.7346 | 12.8647 | 13.9565 | 21.921 | 14.7243 | 21.2822 | 10.3858 | 20.801 | 20.4611 | 19.9734 | 20.7573 | 23.103 | 12.842 | 12.9242 | 12.6211 | 13.011 | 13.3111 | 13.7874 | 12.7466 | 12.6554 | 12.6091 | 11.2221
Average Temp (F) | 70.0799 | 70.2973 | 69.3523 | 68.3477 | 69.3222 | 55.1565 | 57.1216 | 71.4577 | 58.5037 | 70.308 | 50.6945 | 69.4419 | 68.8301 | 67.9521 | 69.3632 | 73.5854 | 55.1155 | 55.2636 | 54.718 | 55.4198 | 55.96 | 56.8172 | 54.9438 | 54.7798 | 54.6963 | 52.1998